## Verified communicating units
The inclusion of any products on this compatible equipment list does not constitute an endorsement or guarantee of performance by the Center for Energy and Environment (CEE), the MN ASHP Collaborative, or any participating utilities. CEE makes no representations or warranties, express or implied, regarding the quality, performance, suitability, or compliance of the listed products for any particular purpose. Product suppliers and installers are solely responsible for determining the suitability of these products for their specific needs and applications. CEE shall not be held liable for any issues, damages, or failures related to the use or performance of any products included on this list.
Last updated: 6/24/2025
Manufacturer/Brand | Model family # | Refrigerant | Compressor Type | Outdoor unit fan type | Ducted & mixed | Non-ducted | Includes control board contacts for load management relay? | Link for proprietary themostat controller integration with control board contacts | Additional components required? | Link to wiring diagrams and installation documents | Notes
American Standard | 4AV8X | R410-A | Variable | Horizontal | Ducted | N/A | Yes | American Standard thermostat models 850, 950, 1050, or UX360 | Field supplied wiring and ¼ stake-on hardware connections | See page 41 | Model nomenclature, page 7
Bryant | 290VAN | R-454B | Variable Speed Rotary | Vertical | Ducted | N/A | Yes | II-SYSTXBBECC-12.pdf |  | See page 16
Carrier | 27VNA0 | R-454B | Variable Speed Rotary | Vertical | Ducted | N/A | Yes | SYSTXCCITC-12SI.pdf |  | See page 16
Airquest | H5H0V | R-454B | Variable Speed Rotary (036/048) Variable Speed Scroll (060) | Vertical | Ducted | N/A | Yes | 61602160002.pdf |  | See page 16