## Verified noncommunicating units
The inclusion of any products on this compatible equipment list does not constitute an endorsement or guarantee of performance by the Center for Energy and Environment (CEE), the MN ASHP Collaborative, or any participating utilities. CEE makes no representations or warranties, express or implied, regarding the quality, performance, suitability, or compliance of the listed products for any particular purpose. Product suppliers and installers are solely responsible for determining the suitability of these products for their specific needs and applications. CEE shall not be held liable for any issues, damages, or failures related to the use or performance of any products included on this list.
Last updated: 4/14/2025
Manufacturer/Brand | Model family # (no tonnages or other information needed if control method is consistent w/in family) | Compressor Type | Outdoor unit fan type (vertical / horizontal) | Ducted & mixed | Non-ducted (ductless, minisplit) | Can be wired to interrupt partial or full line voltage power? (120V or 240V) | Compatible with third party controller? (if yes, please see separate controls list) | Link to wiring diagrams and installation documents | Notes
Daikin | DZ4SQ | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DZ4SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DZ5SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DZ7TC | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ASZN4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ASZH4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ASZH5 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ASZC7 | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GSZB4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GSZM4 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GSZH5 | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GSZC7 | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ALZS4B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ALZS4N | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ALZS5B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Amana | ALZT7CA | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DH4SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DH4SQ | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DH5SE | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Daikin | DH7TC | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GLZS4B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GLZS4M | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GLZS5B | Single-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.
Goodman | GLZT7C | Two-stage | Vertical | Ducted | N/A | Yes | Yes | Example wiring guides - see LM7 | Work with the jobsite's electric utility provider for wiring instructions specific to their load management control system.